## Read me
OPC UA Machine Data → OEE Mapping Kit
opcuaconnect.com — v1.0 · spec baseline OPC UA 1.05.07
WHAT THIS IS
The missing step between 'the machine has an OPC UA server' and 'we have a trustworthy OEE number'.
It tells you which nodes to subscribe to, how to turn them into Availability, Performance and Quality,
and where the standard companion models already give you the answer so you do not have to invent tags.
THE THREE THINGS THAT BREAK OEE FROM OPC UA
1. Counting on the wrong edge. A part counter read at 1s sampling loses parts on a fast line. Use the machine's
own cumulative counter and difference it — never count rising edges client-side at a slow sampling rate.
2. Server timestamps. If SourceTimestamp equals ServerTimestamp on every value, your downtime durations are
the network's, not the machine's. Check it before you trust a single minute of downtime.
3. No reason codes. Availability without a reason code is a number nobody acts on. ConditionClassId from
Part 9 alarms, or the state machine of the companion model, is where reason codes come from.
HOW TO USE IT
'OEE reference' the formulas and the loss buckets, so everyone agrees what is being measured.
'Node mapping' one row per signal. Fill it in per machine. This is the document you hand the integrator.
'PackML states' the 17 PackML states mapped to OEE time buckets. Use as-is if the machine is PackML.
'Model coverage' which companion specification gives you which OEE input, and what it is called there.
'Sampling plan' what to sample how fast, and what it costs you in notifications per second.
opcuaconnect.com · OPC UA reference. Not affiliated with the OPC Foundation. Spec baseline OPC UA 1.05.07.

## OEE reference
OEE reference
Definitions first, so the argument happens now and not after go-live.
Term | Definition | Formula | Where the number comes from in OPC UA
Planned production time | Scheduled time the asset is expected to run. Excludes unscheduled shifts and planned shutdown. | Shift calendar | Rarely in the server. Comes from the MES or the shift plan.
Run time | Planned production time minus all downtime, planned and unplanned. | Planned - Downtime | Derived from the machine state signal over time.
Availability | Share of planned time the asset was actually running. | Run time / Planned time | State machine: MachineryOperationModeStateMachine, PackML unit mode, or a vendor state node.
Ideal cycle time | The fastest sustainable time per part, by design. Not the best ever observed. | Design figure | Usually a constant you enter. Some models publish it.
Total count | Every part the machine produced, good and bad. | Counter delta | A cumulative counter node. Difference successive reads — do not count edges.
Good count | Parts that passed. Total minus rejects. | Total - Reject | Separate counter, or total minus a reject counter.
Performance | How close the machine ran to its ideal speed while it was running. | (Ideal cycle x Total) / Run time | Counter plus run time. Capped at 100% — above means your ideal cycle is wrong.
Quality | Share of produced parts that were good. | Good / Total | Two counters, or a reject counter.
OEE | The product of the three. | A x P x Q | All of the above.
TEEP | OEE across all calendar time, not just planned time. | OEE x (Planned / Calendar) | Adds the shift calendar.
SIX BIG LOSSES — AND THE OPC UA SIGNAL THAT DETECTS EACH
Breakdown | Unplanned stop over the downtime threshold. |  | Alarm/Condition with ConditionClassId, or state machine transition to a fault state.
Setup and adjustment | Changeover time. |  | Unit mode or job change. ISA-95 Job Control, Machinery Jobs.
Idling and minor stops | Short stops under the threshold. The losses nobody logs. |  | State machine at fast sampling, or a stalled part counter while state says running.
Reduced speed | Running slower than ideal cycle. |  | Counter rate compared to the design rate. No dedicated node — you calculate it.
Process defects | Rejects during stable running. |  | Reject counter, or MachineVision result nodes.
Reduced yield | Rejects during start-up and ramp. |  | Reject counter correlated with time since state became running.

## Node mapping
Node mapping template
One row per signal, per machine. This is the sheet you hand to the machine builder.
OEE input | Signal / meaning | NodeId (ns=..;s=..) | BrowseName | DataType | Sampling (ms) | Deadband | Source ts? | Notes / gotcha
Availability | Machine running state |  |  | Int32 / enum | 250 | None | Yes | Must change within one sampling period of the real stop.
Availability | Unit / operation mode (auto, manual, setup) |  |  | Int32 / enum | 1000 | None | Yes | Separates changeover from breakdown.
Availability | Fault or alarm active |  |  | Boolean | 250 | None | Yes | Pair with the reason code below.
Availability | Downtime reason code |  |  | String / Int32 | 250 | None | Yes | ConditionClassId if Part 9 alarms are implemented.
Performance | Cumulative total part counter |  |  | UInt32 / UInt64 | 500 | None | Yes | Cumulative and monotonic. Note the rollover value.
Performance | Counter rollover / max value |  |  | UInt64 | n/a | n/a | n/a | Constant. Without it every rollover looks like a million parts.
Performance | Ideal cycle time (design) |  |  | Double | n/a | n/a | n/a | Usually a constant you enter, not a node.
Performance | Actual cycle time, if published |  |  | Double | 1000 | Abs | Yes | Cross-check against the counter rate.
Performance | Speed setpoint / actual speed |  |  | Double | 1000 | Percent 2% | Yes | Deadband here saves most of your bandwidth.
Quality | Cumulative good count |  |  | UInt32 / UInt64 | 500 | None | Yes
Quality | Cumulative reject count |  |  | UInt32 / UInt64 | 500 | None | Yes | If only total and reject exist, good = total - reject.
Quality | Reject reason / defect class |  |  | String / Int32 | 500 | None | Yes | MachineVision or a vendor node.
Context | Current job / order id |  |  | String | 1000 | None | Yes | ISA-95 Job Control or Machinery Jobs.
Context | Current product / recipe id |  |  | String | 1000 | None | Yes | Needed for per-product ideal cycle time.
Context | Operator / shift id |  |  | String | 1000 | None | Yes | Often not on the machine. MES side.
Context | Machine identification (serial, model) |  |  | String | n/a | n/a | n/a | DI ports on most models. Read once at connect.
Health | Server state |  |  | Int32 | 5000 | None | Yes | Server_ServerStatus_State. Distinguishes 'machine stopped' from 'server down'.
Health | Energy / power draw |  |  | Double | 5000 | Percent 5% | Yes | Machinery Energy. Also a good stealth run/stop signal.

## PackML states
PackML state → OEE time bucket
If the machine implements PackML (OPC UA for PackML / Weihenstephan), use this mapping as-is.
# | PackML state | OEE bucket | Why
1 | Clearing | Downtime — unplanned | Recovering from a fault. The machine is not making parts.
2 | Stopped | Downtime — unplanned | Stopped and not in a planned state.
3 | Starting | Downtime — planned | Ramping up. Counts as planned unless start-up is chronically long.
4 | Idle | Downtime — planned | Ready but not commanded to run. Often starvation or blocking.
5 | Suspended | Downtime — external | Stopped by an external condition — upstream starved or downstream blocked. Not the machine's fault.
6 | Execute | Run time | The only state that produces parts.
7 | Stopping | Downtime — planned | Controlled stop in progress.
8 | Aborting | Downtime — unplanned | Emergency or abort. Always unplanned.
9 | Aborted | Downtime — unplanned | Sitting in abort. Needs an operator.
10 | Holding | Downtime — external | Going to hold, usually an external condition.
11 | Held | Downtime — external | Held. Same treatment as Suspended for OEE.
12 | Unholding | Downtime — external | Coming out of hold.
13 | Suspending | Downtime — external | Going to suspend.
14 | Unsuspending | Downtime — external | Coming out of suspend.
15 | Resetting | Downtime — planned | Reset after a fault has been cleared.
16 | Completing | Downtime — planned | Finishing the order.
17 | Complete | Downtime — planned | Order finished. Waiting for the next one.
Separating 'external' from 'unplanned' is what stops a packaging line blaming the filler for the capper's downtime.

## Model coverage
Companion model coverage for OEE
Which standard model already gives you which OEE input. A tick means the model defines it — the vendor still has to implement it.
Companion specification | State | Counters | Quality | Job/order | What it gives you for OEE
MachineTool | Yes | Yes | Part | Yes | Richest OEE-ready model. Production state machines, ProductionStatisticsType counters, condition classes as downtime reasons, tool life.
PackML | Yes | Yes | Yes | Yes | The 17-state model plus PackTags counters. The cleanest availability mapping that exists.
Machinery | Yes | — | — | — | The base. MachineryItemState and MachineryOperationMode — run/stop and mode on any machine that implements it.
Machinery Jobs | — | Yes | Yes | Yes | Job execution and result counts. The order context OEE needs.
Machinery Result | — | — | Yes | Yes | ResultType — per-part outcome. Good/bad at part granularity.
Machinery ProcessValues | — | — | — | — | Analogue process values with proper EURange. Speed and rate signals.
Machinery Energy | — | — | — | — | Power and energy. Also a reliable stealth run/stop detector.
umati | Yes | Yes | Yes | Yes | The umbrella interface over machine-tool and woodworking. If the vendor is umati-ready this is the fastest route.
ISA-95 Job Control V2 | — | Yes | — | Yes | Job orders down, job responses up. The MES contract.
Weihenstephan | Yes | Yes | Yes | Yes | Beverage and food lines. Predates PackML in that industry and is still widely deployed.
MetalForming | Yes | Yes | Yes | Yes | Press-specific counters, stroke rates and die data.
Robotics | Yes | — | — | — | Robot state and motion. Availability yes, part counts rarely.
MachineVision | — | — | Yes | — | Inspection results. The best source of a real reject reason.
CNC | Yes | — | — | — | CNC channel and axis state. Pair with machine-tool for counters.
MTConnect | Yes | Yes | Yes | Yes | The MTConnect companion. Relevant if the shop already runs MTConnect agents.
PlasticsRubber IMM2MES | Yes | Yes | Yes | Yes | Injection moulding to MES. Shot counters and cavity data.
IJT Tightening | — | Yes | Yes | Yes | Tightening results. Quality at fastener granularity.
Woodworking | Yes | Yes | Yes | Yes | Woodworking machines under the umati umbrella.
DI | — | — | — | — | Device Information. Not OEE data, but the identification every OEE record needs.

## Sampling plan
Sampling plan and load
Fill the blue cells. The total tells you whether one subscription can carry the machine.
Signal group | Tags | Sampling (ms) | Changes/s per tag | Notifications/s | Note
State and mode | 4 | 250 | 0.05 |  | Low change rate, but must be fast when it does change.
Alarms and reason codes | 10 | 250 | 0.02 |  | Event-driven. Use an event subscription if the server supports it.
Counters | 4 | 500 | 2 |  | The dominant load on a fast line. Never deadband a counter.
Speed and analogue | 12 | 1000 | 0.5 |  | Deadband these. Percent 2% typically cuts them by 80%.
Job and product context | 4 | 1000 | 0.01 |  | Changes at changeover only.
Energy | 3 | 5000 | 0.2 |  | Slow is fine.
Server health | 2 | 5000 | 0.001 |  | Almost never changes.
TOTAL
Guide: under 50 notifications/s is comfortable on one subscription. Over 200/s, split by group or widen deadbands.
opcuaconnect.com · OPC UA reference. Not affiliated with the OPC Foundation. Spec baseline OPC UA 1.05.07.